## Slide 1
Science Learning Center
Chemistry Pre-laboratory Tutorials
Written By Patrick Herklotz

## Slide 2
Menu Options: Click on Links To…
Replay
Continue
Step #
Location of Written Instructions
Link: Go to Preceding Slide
Link: Watch Current Slide Animations Again
Link: Advance to Next Slide
Instructions
Previous Slide

## Slide 3
Tutorial 1
Basics of Setting Up the LabPro Calculator For Use With Sensors
Previous Slide
Replay
Continue

## Slide 4
Side View
Top View
STAT PLOT F1
TBLSET F2
FORNAT F3
CALC F4
TABLE F5
Alpha
2ND
Mode
DEL
STAT
PRGM
COS
(
X,T,O,N
APPS
MATH
7
4
1
0
8
5
2
.
9
6
3
(-)
x
+
-
÷
Enter
X -1
X2
LOG
LN
STO>
ON
SIN
,
VARS
CLEAR
TAN
>
)
Previous Slide
Replay
Continue
Power Supply
Step 1: Obtain White Plastic Calculator Holder from box and slide Calculator into it; push the calculator down to lock it in place

## Slide 5
Side View
Top View
STAT PLOT F1
TBLSET F2
FORNAT F3
CALC F4
TABLE F5
Alpha
2ND
Mode
DEL
STAT
PRGM
COS
(
X,T,O,N
APPS
MATH
7
4
1
0
8
5
2
.
9
6
3
(-)
x
+
-
÷
Enter
X -1
X2
LOG
LN
STO>
ON
SIN
,
VARS
CLEAR
TAN
>
)
Previous Slide
Replay
Continue
Power Supply
Step 1: Obtain White Plastic Calculator Holder from box and slide Calculator into it; push the calculator down to lock it in place

## Slide 6
Top View
Previous Slide
Replay
Continue
Side View
VERNIER
LabPro
Quick Setup
Start/Stop
Transfer
Vernier
STAT PLOT F1
TBLSET F2
FORNAT F3
CALC F4
TABLE F5
Alpha
2ND
Mode
DEL
STAT
PRGM
COS
(
X,T,O,N
APPS
MATH
7
4
1
0
8
5
2
.
9
6
3
(-)
x
+
-
÷
Enter
X -1
X2
LOG
LN
STO>
ON
SIN
,
VARS
CLEAR
TAN
>
)
Channel 1
Channel 2
Channel 3
Channel 4
Power Supply
Step 2: Obtain the green plastic LabPro data platform and slide the calculator and holder from the bottom to the top of the LabPro (where there are buttons) until it clicks thus locking the calculator in place.

## Slide 7
Top View
Previous Slide
Replay
Continue
Side View
VERNIER
LabPro
Quick Setup
Start/Stop
Transfer
Vernier
STAT PLOT F1
TBLSET F2
FORNAT F3
CALC F4
TABLE F5
Alpha
2ND
Mode
DEL
STAT
PRGM
COS
(
X,T,O,N
APPS
MATH
7
4
1
0
8
5
2
.
9
6
3
(-)
x
+
-
÷
Enter
X -1
X2
LOG
LN
STO>
ON
SIN
,
VARS
CLEAR
TAN
>
)
click
Channel 1
Channel 2
Channel 3
Channel 4
Power Supply
Step 2: Obtain the green plastic LabPro data platform and slide the calculator and holder from the bottom to the top of the LabPro (where there are buttons) until it clicks thus locking the calculator in place.

## Slide 8
Top View
Previous Slide
Replay
Continue
Side View
VERNIER
LabPro
Quick Setup
Start/Stop
Transfer
Vernier
Channel 1
Channel 2
Channel 3
Channel 4
Power Supply
STAT PLOT F1
TBLSET F2
FORNAT F3
CALC F4
TABLE F5
Alpha
2ND
Mode
DEL
STAT
PRGM
COS
(
X,T,O,N
APPS
MATH
7
4
1
0
8
5
2
.
9
6
3
(-)
x
+
-
÷
Enter
X -1
X2
LOG
LN
STO>
ON
SIN
,
VARS
CLEAR
TAN
>
)
Step 3: Obtain the power supply and plug it into the lower left corner of the LabPro platform and outlet

## Slide 9
Top View
Previous Slide
Replay
Continue
Side View
VERNIER
LabPro
Quick Setup
Start/Stop
Transfer
Vernier
Channel 1
Channel 2
Channel 3
Channel 4
Power Supply
AC Input Adaptor
STAT PLOT F1
TBLSET F2
FORNAT F3
CALC F4
TABLE F5
Alpha
2ND
Mode
DEL
STAT
PRGM
COS
(
X,T,O,N
APPS
MATH
7
4
1
0
8
5
2
.
9
6
3
(-)
x
+
-
÷
Enter
X -1
X2
LOG
LN
STO>
ON
SIN
,
VARS
CLEAR
TAN
>
)
Step 3: Obtain the power supply and plug it into the lower left corner of the LabPro platform and into outlet

## Slide 10
Previous Slide
Replay
Continue
Side View
Step 4: Obtain the data transfer chord and plug it into the front left port of the Calculator and the bottom center port of the LabPro platform
Front View of Calculator
Channel 1
Channel 2
Channel 3
Channel 4
Transfer
Quick setup
Start / Stop
Power Supply

## Slide 11
Previous Slide
Replay
Continue
Side View
Step 4: Obtain the data transfer chord and plug it into the front left port of the Calculator and the bottom center port of the LabPro platform
Front View of Calculator
Channel 1
Channel 2
Channel 3
Channel 4
Transfer
Quick setup
Start / Stop
Power Supply
Data Transfer Chord Port
Data Transfer Chord Port

## Slide 12
The Calculator Is Now Ready For Use With A Variety Sensors
Menu Options
Back to Beginning
Previous Slide
Finished

## Slide 13
End of Tutorial 1